## Allgemeine Anfrage
Generator-Auslegungsdaten für allgemeine Antriebe
Bitte ergänzen Sie die GELB unterlegten Zellen
Name und Adresse: .
Projektname |  |  |  | Anzahl |  | St.
Typ Antriebsmaschine |  |  |  | Datum
Anwendung
Nennleistung = |  | kVA | Leistungsfaktor =
Nennspannung = |  | kV | Sp.-Betriebsbereich = |  | %
Frequency = |  | Hz | Frequenzbereich = |  | %
Nenndrehzahl = |  | rpm | Drehzahlbereich = |  | %
Aufstellhöhe = |  | m.ü.NN
Umgebungstemperatur = |  | °C
Kühlwassertemperatur = |  | °C
Bauform =
Schutzart =
Kühlart =
Isolationsklasse = | H |  | Temperaturanstieg nach Klasse
Besondere Anforderungen
(bitte beschreiben)
FORM_ANFR_ALLG_DE.XLS Verfasser: Eberhard Vogler Aktualisiert am: 08.12.2014
Diesel engine |  | IM 1001 / B3 |  | IC01, direct air-ventilated |  |  | IP 23
Gas engine |  | IM 1101 / B20 |  | IC 11, air inlet ducted |  |  | IP 44
Steam turbine |  | IM 1305 / B16 |  | IC 21, discharge air ducted |  |  | IP 54
Gas turbine |  | IM 3011 / V1 |  | IC 31, air inlet + outlet ducted
Wind turbine |  | other (please describe) |  | Double-tube water cooler
Electric motor |  |  |  | Air-to-air heat exchanger
other (please describe)
|  | +/- 5 | +/- 2 | F | Standard industrial, base load
|  | +/- 10 | +/- 3 | B | Emergency gen-set industrial
|  | special | +/- 5 | Other | Marine / standard board net
|  |  | special |  | Marine / diesel-electric propulsion
Offshore application
Other - please describe