# Questionnaire to prepare a quotation for a hydropower station

| Contact details: |  |
| --- | --- |
| Company name: | .................................................................................... |
| Person in charge: | ..................................................................................... |
| Street: | ..................................................................................... |
| Country/Zip Code/City: | ..................................................................................... |
| Phone: | ..................................................................................... |
| Fax: | ..................................................................................... |
| E-Mail: | ..................................................................................... |

| Your project data: |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Project name and location: |  | .................................................................................................... |  |
| 2 | Gross head: (vertical distance between forebay level and tailwater level) |  |  | ......................... m |
| 3 | Net head (gross head minus losses due to friction in penstock and other losses) |  |  | ......................... m |
| 4 | Distance between turbine axis and tailwater |  |  | ......................... m |
| 5 | Elevation of the turbine axis (meters above sea level) |  |  | ......................... m |
| 6 | Available water flow (discharge) |  |  |  |
|  | Maximum flow: | ......................... m³/s during ......... months/year |  |  |
|  | Average flow: | ......................... m³/s during ......... months/year |  |  |
|  | Minimum flow: | ......................... m³/s during ......... months/year |  |  |
|  | (please attach the flow curve, if available) |  |  |  |
| 7 | Requested number of turbines |  |  | ..................... |
| 8 | Flow rate (discharge) per each turbine |  |  | ....................m³/s |

| 9 | Describe the waterway towards the turbine: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Section I |  | Section II |  | Section III |
|  | - Channel length (attach sectional drawing) |  | .............. m |  | .............. m |  | .............. m |
|  | - Penstock length |  | .............. m |  | .............. m |  | .............. m |
|  | - Internal diameter (penstock) |  | ............. mm |  | .............. mm |  | .............. mm |
|  | - Material |  | ………..….. |  | ………...….. |  | ………...….. |
|  | - Wall thickness |  | ............. mm |  | .............. mm |  | .............. mm |
|  | - Maximum allowed pressure surge |  | .............. % |  |  |  |  |
|  | - Is a surge tank provided? |  |  yes |  |  no |  |  |
|  | If a surge tank shall be provided, please send dimensions or a drawing accordingly. |  |  |  |  |  |  |
| 10 | Mode of operation: |  |  |  |  |  |  |
|  | - The unit will feed a public grid (parallel operation only), which means that in case of grid failure, the consumers, e.g. a factory, cannot be supplied with power. |  |  |  |  |  |  |
|  | - The unit will be operated separately from the grid (isolated operation) and parallel to the national grid, which means that in case of grid failure, the consumers, e.g. a factory, can be supplied with power. |  |  |  |  |  |  |
|  | - The unit will be operated isolated from the national grid only. |  |  |  |  |  |  |
| 11 | Grid voltage: |  |  |  |  | ................................ kV |  |
| 12 | Grid frequency: |  |  |  |  | ................................ Hz |  |
| 13 | Auxiliary voltage (low-voltage level) |  |  |  |  | ................................ V |  |
| 14 | Output: |  |  |  |  |  |  |
|  | - Maximum allowed power output to the grid/consumers |  |  |  |  | ............................... kW |  |
|  | - Maximum load step to be switched in one step in case of isolated operation |  |  |  |  | ............................... kW |  |
| 15 | Generator: |  |  |  |  |  |  |
|  | - Type: | Synchronous  |  | Induction  |  |  |  |
|  | - Preferred voltage: | .............................. kV |  |  |  |  |  |
| 16 | In case of an already existing hydropower station, please attach design drawings. Also, if project drawings already exist, please attach these with your enquiry. |  |  |  |  |  |  |

| Expected scope of supply: |  |
| --- | --- |
| Turbine  | Medium-voltage switchgear  |
| Governor  | High-voltage switchgear  |
| Gearbox  | Transformer  |
| Generator  | Consulting service  |
| Low-voltage control  |  |