## Wasserturbinenantrieb
Alternator design data for "Overhung" mounting of hydro turbine rotors
Please complete YELLOW cells for generator inquiries.
Name and adress:
Project name: | [5 empty] | No. of units: |  | pcs.
Type of turbine: | [5 empty] | Date:
Mounting type:
|  |  |  | Shaft Overlength L = |  | inches = | 0 | mm
|  |  |  | Axial thrust: Fa = |  | kpf = | 0 | kN
If Pelton: Number of jets =
|  |  |  | Radial force per jet Fx = |  | kpf = | 0 | kN
|  |  |  | Resulting radial force: Fr = |  | kpf = | 0 | kN
|  |  |  | Mass of runner = |  | lbs = | 0 | kg
|  |  |  | Inertia of runner = |  | lbft² = | 0 | kgm²
|  |  |  | Rated speed = |  |  |  | rpm
|  |  |  | Runaway speed = |  |  |  | rpm
|  |  |  | Duration of runaway speed = |  |  |  | min.
|  |  |  | Required inertia I of alternator, if any = |  | lbft² = | 0 | kgm²
|  |  |  | or: Required GD² of alternator, if any = |  | lbft² = | 0 | kgm²
|  |  |  | Rated output = |  | kVA
|  |  |  | Power Factor = |  | pf
|  |  |  | Rated voltage = |  | kV +/- |  | %
|  |  |  | Frequency = |  | Hz +/- |  | %
Cooling mode =
Enclosure type =
wkv_angebot_HEP_englisch.XLS Editor: Eberhard Vogler Actualized on: 15.01.2015 |  |  |  | Site altitude = |  | ft.a.s.l. | 0 | m.a.s.l.
|  |  |  | Ambient air temperature = |  | °F = | 0 | °C
|  |  |  | Cooling water temperature = | 0 | °F = | 0 | °C
|  |  |  | Temperature rise limit, if any = |  |  | 0
Pelton Turbine |  | Horizontal |  |  | IC01, direct air-ventilated |  |  |  | IP 23
Francis Turbine |  | Horizontal, ...° inclined |  |  | IC 11, air inlet ducted |  |  |  | IP 44
Open Flume Francis Turbine |  | Vertical |  |  | IC 21, discharge air ducted |  |  |  | IP 54
Turgo Impulse Turbine |  | Vertical, ...° inclined |  |  | IC 31, air inlet + outlet ducted
Crossflow Turbine |  |  |  |  | Single-tube water cooler
Kaplan Turbine |  |  |  |  | Double-tube water cooler
Air-to-air heat exchanger
+/- 5 | +/- 2 |  | F
+/- 10 | +/- 3 |  | B
special | +/- 5 |  | Other
special