## Allgemeine Anfrage
Alternator design data for conventional prime movers
Please complete YELLOW cells for generator inquiries.
Name and adress: .
Project name: |  |  |  |  | No. of units: |  | pcs.
Type of prime mover: |  |  |  |  | Date:
Application:
Required output = |  | kVA |  | Power factor = |  | pf
Voltage = |  | kV |  | Vltg. operation range = |  | %
Frequency = |  | Hz |  | Freq. operation range = |  | %
Speed = |  | rpm |  | Speed range = |  | %
Site altitude = |  | ft.a.s.l. | 0 | m.a.s.l.
Ambient air temperature: = |  | °F | 0 | °C
Cooling water temperature = |  | °F | 0 | °C
Design form =
Enclosure type =
Cooling mode =
Insulation class = | H |  |  | Temperature rise limit =
Special requirements:
(please desribe)
FORM_ANFR_ALLG.XLS Editor: Eberhard Vogler Actualized on: 08.12.2014
Diesel engine |  | IM 1001 / B3 |  |  | IC01, direct air-ventilated |  |  | IP 23
Gas engine |  | IM 1101 / B20 |  |  | IC 11, air inlet ducted |  |  | IP 44
Steam turbine |  | IM 1305 / B16 |  |  | IC 21, discharge air ducted |  |  | IP 54
Gas turbine |  | IM 3011 / V1 |  |  | IC 31, air inlet + outlet ducted
Wind turbine |  | other (please describe) |  |  | Double-tube water cooler
Electric motor |  |  |  |  | Air-to-air heat exchanger
other (please describe)
|  | +/- 5 |  | +/- 2 | F | Standard industrial, base load
|  | +/- 10 |  | +/- 3 | B | Emergency gen-set industrial
|  | special |  | +/- 5 | Other | Marine / standard board net
|  |  |  | special |  | Marine / diesel-electric propulsion
Offshore application
Other - please describe