| Date: | .............................. |
| --- | --- |
| Revision: | .............................. |
|  | Please mark every revision with another color. |

# Questionnaire to prepare a quotation for your hydropower station

| Contact details |  |  |  |  |
| --- | --- | --- | --- | --- |
| Company name |  |  | ............................................................................................ |  |
| Person in charge |  |  | ............................................................................................ |  |
| Street |  |  | ............................................................................................ |  |
| Country/Zip Code/City |  |  | ............................................................................................ |  |
| Phone |  |  | ............................................................................................ |  |
| Fax |  |  | ............................................................................................ |  |
| E-Mail |  |  | ............................................................................................ |  |
| General project data |  |  |  |  |
| 1 | Project name |  | ............................................................................................ |  |
| 2 | Project location |  | ............................................................................................ |  |
| Turbine design data |  |  |  |  |
| 3 | Gross head (elevation difference between upper water level (e.g. forebay/headpond/intake) and tailrace water level) |  |  | ......................... m |
| 4 | Net head (gross head minus penstock losses (due to friction) and other losses) |  |  | ......................... m |
| 5 | Distance between turbine axis and tailrace water level |  |  | ......................... m |
| 6 | Elevation of the turbine axis (meters above sea level) |  |  | ..................... m.a.s.l. |
| 7 | Available water flow (discharge) |  |  |  |
|  | Maximum flow: | ......................... m³/s during .............. months/year |  |  |
|  | Average flow: | ......................... m³/s during .............. months/year |  |  |
|  | Minimum flow: | ......................... m³/s during .............. months/year |  |  |
|  | - Please attach the flow duration curve or other river flow data |  |  |  |

| 8 | Total water discharge available for the turbines |  |  |  |  |  |  |  |  |  |  |  |  | ....................m³/s |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9 | Flow rate (discharge) per each turbine |  |  |  |  |  |  |  |  |  |  |  |  | ....................m³/s |  |  |  |  |
| 10 | Requested number of turbine units |  |  |  |  |  |  |  |  |  |  |  |  | ..................... |  |  |  |  |
| 11 | Preferred arrangement of turbine (if binding, otherwise WKV will quote the best solution) |  |  |  |  |  |  |  |  |  | horizontal |  |  |  |  |  |  | vertical |
| Generator design data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Preferred voltage | .............................. kV |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Preferred speed | .............................. rpm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Adjustable voltage range | …………………………… (e.g. ± 5%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Power factor (cos phi) | ………..lag, ………..lead |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Preferred short circuit ratio (SCR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | Cooling type | air cooled (IC01) |  |  |  |  |  |  | water cooled (IC81W) |  |  |  |  |  |  |  |  |  |
| 18 | Temperature of | Air: Min:….….°C; Max:……..°C |  |  |  |  |  |  | Water: Min:……….°C; Max:……….°C |  |  |  |  |  |  |  |  |  |
| 19 | Req. Inertia | J =.............................. kg·m2 (GD2 ≙ 4·J) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Waterways and Penstock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Describe the waterway towards the turbine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | - Channel length and square area: width: …..….m; depth: …..….m; length: …..….m - Please attach drawings of the channel (different sections) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | - Penstock data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Section I |  |  | Section II |  |  | Section III |  |  |  |  | Section IV |  |  |  | Section V |  |
|  | - Penstock length | ............ m |  |  | ............ m |  |  | ............ m |  |  |  |  | ............ m |  |  |  | .............. m |  |
|  | - Internal diameter (penstock) | ......... mm |  |  | ......... mm |  |  | ......... mm |  |  |  |  | ......... mm |  |  |  | ........... mm |  |
|  | - Material | …………. |  |  | …………. |  |  | …………. |  |  |  |  | …………. |  |  |  | ……………. |  |
|  | - Wall thickness | ......... mm |  |  | ......... mm |  |  | ......... mm |  |  |  |  | ......... mm |  |  |  | ........... mm |  |
|  | - Maximum allowed pressure surge In the penstock | ………............. % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - Please attach detailed drawings of the penstock (different sections) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | - Is a surge tank provided? |  |  | yes |  |  | no |  |  |  |  |  |  |  |  |  |  |  |
|  | - If a surge tank has been planned, please attach dimensions and drawings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mode of operation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | - The unit will feed a public grid (parallel operation only), which means that in case of grid failure, the consumers, e.g. a factory, cannot be supplied with power. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | - The unit will be operated separately from the grid (isolated operation) and parallel to the national grid, which means that in case of grid failure, the consumers, e.g. a factory, can be supplied with power. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | - The unit will be operated isolated from the national grid only. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - In case isolated operation is required, please fill out the additional questions on the last page |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grid data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Grid voltage |  |  |  |  |  |  |  |  |  |  | ................................ kV |  |  |  |  |  |  |
| 27 | Grid frequency |  |  |  |  |  |  |  |  |  |  | ................................ Hz |  |  |  |  |  |  |
| 28 | Auxiliary voltage (low-voltage level) |  |  |  |  |  |  |  |  |  |  | ................................ V |  |  |  |  |  |  |
| 29 | Maximum allowed power output to the grid/consumers |  |  |  |  |  |  |  |  |  |  | ............................... kW |  |  |  |  |  |  |
| Expected scope of supply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turbine |  |  |  |  |  | High-voltage switchgear |  |  |  |  |  |  |  |  |  |  |  |  |
| Governor |  |  |  |  |  | Transformer |  |  |  |  |  |  |  |  |  |  |  |  |
| Gearbox (if any) |  |  |  |  |  | Diesel Emergency Unit |  |  |  |  |  |  |  |  |  |  |  |  |
| Generator |  |  |  |  |  | Powerhouse crane |  |  |  |  |  |  |  |  |  |  |  |  |
| Low-voltage (control & protection) |  |  |  |  |  | Consulting service |  |  |  |  |  |  |  |  |  |  |  |  |
| Medium-voltage switchgear |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attachments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Flow duration curve (FDC) or other river discharge data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Please attach drawings of the channel (different sections) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Please attach detailed drawings of the penstock (different sections) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - If a surge tank has been planned, please attach dimensions and drawings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Electrical Single Line Diagram (SLD) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - In case of an already existing hydropower station, please attach design drawings and pictures. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Also, if project drawings already exist, please attach these to your enquiry. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please fill out the questionnaire as much as possible. Only with sufficient data can WKV prepare a quotation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| If isolated operation is required, please fill out the following |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | How many days per year is isolated operation required? |  | ......................... days |  |
| 2 | What is the max. load of the local grid (e.g. 500 kW)? |  | ......................... kW |  |
| 3 | What is the type of the consumers / load? For example: |  |  |  |
|  | - Mostly households with fluorescent light, television, fridge, etc.? - Small factories with motors or machinery? - In case of Industry, what is the max. load (max. consume) and what type (e.g.motor, heater, stone breaker (washer))? |  |  |  |  |
|  |  |  | Type: …………… ......................... kW |  |  |
| 4 | What is the maximum load step (biggest load which will be switched on in one step?)E.g. heater with ........ kW or motor with ......... kW |  | Type: …………… ......................... kW |  |
| 5 | What is the powerfactor of the local grid, e.g. |  |  |  |
|  | - During night time 0, ……. lag up to 0,………. lead - During day time 0, ……. lag up to 0,………. lead |  |  |  |
| 6 | Does the hydro operate in parallel with other small stations e.g. a diesel power station or any other type of power station? Please submit an overview of the grid (grid plan). |  | Yes No |  |
|  | Type of the other station (s) | ............................................................................................ |  |  |
|  | Output of the other station (s) | ......................... kW |  |  |
| 7 | What is the type of distribution lines? |  |  |  |
|  | Typical 3 wire – single conductor overhead line? |  |  |  |
|  | Insulated cables system |  |  |  |
| 8 | In case of grid parallel and isolated operation, what is required? |  |  |  |
|  | - After grid failure, the powerhouse shuts-down and restarts to build-up the isolated network? |  |  |  |
|  | - Uninterruptable operation from grid parallel to isolated operation and once grid is available automatic back-synchronization? |  |  |  |